Grid Integration of Variable Renewables (GIVAR)
Workshop - Emerging challenges for power system planning
Main trends and implications for auction design
21 November 2018: 09h00 – 17h45
Windsor Hotel Guanabara, Rio de Janeiro
Adjusting energy planning practices.
Examples from Uruguay.
Ruben Chaer
Associate Professor at the Instituto de Ingeniería Eléctrica (IIE-FING-UdeLaR) of Uruguay
Manager T&DNC at the Administración del Mercado Eléctrico - ADME of Uruguay
Senior Member of the IEEE

---
What we have done in Uruguay.
Source: The risk images are from the IIE studies carried out in 2010 and 2018 respectively.
dry years
wet years
2011 [GWh]
2019 [GWh]
dry years
wet years

---
Characterization of the variability in Uruguay.
16 years
water inflows
wind & solar
WS
2 month

---
About the failure generators.
Generators
Failure generator
Demand
Voluntary reductions
Failure generator
Failure generator
Compulsive rationing
FailureCost = sum from jFailure E_jFailure cv_jFailure + frequency_jFailure cf_jFailure
Cost assigned
to rationing
Investments
Reliability
Availability
Cost of supply

---
Time-Step used for simulation.
Big time step / implicit inertia
balance restrictions overestimate filtering capacity
Small time step / more state variables
need of availability models to represent
fail/repair inertia

---
Time-Bands (Patamares) defined by the Monotonous Load Curve ... Makes sense?
Only an example, 4 days of july-2018-Uruguay
hours
MW
hours
MW
Source: ADME - SCADA ten-minute time series
[Speaker Notes: To fix ideas, the figure shows the supply of the Demand of Uruguay in the first four days of July 2018. They were not chosen for anything in particular.]

---
SimSEE
1. BID – CONICYT (2007)
Gen2
Dem2
Nodo 2
Gen1
Dem1
Nodo 1
Arc A
Arc B
[Speaker Notes: SimSEE allows to simulate the optimal operation of electric power systems considering several types of demands and generation technologies. It also allows the modeling of the electrical network, in a simplified way, by modeling the connection nodes and transport between them.]

---
The Time Bands handling in SimSEE.
Generation
Demand
Net-Demand
-
+
+
Demand
Net-Demand
dynamic time-step banding
Distribution
Transmission

---
Representation of uncertainty.
El Niño, Hydro, Wind, Solar, Demand, Temperature.
(correlated processes)
Sources of randomness
Stochastic processes
Demand and temperature
Flows of water contributions
Wind speed
Solar radiation
Price of interconnected markets
Fuel prices
Availability of fuels
Availability of generating plants
Availability of transport lines
Equipment availability
(independent booleans)
We are managing faster dynamics, therefore, the correlation between the different resources has greater importance.
We need models of variability that correctly represent the correlation between resources and the correlation with the past.
That is, we have to represent the inertia behind the stochastic variables.

---
Availability of generators, power transmission lines, etc.
Fail
Available
Unavailable
Repair
If we do not represent the state of the availability when simulating with small time-step, the consequences of the inertia of the fault-repair process are underestimated.
Each generator, transmission line, etc. adds a Boolean state variable to the system.

---
CEGH modeling.
reproduces the amplitude histograms of the original processes.
reproduces the spatial and temporal correlations in an gaussian space.
Gaussian World
Gaussian World:
Multi-variable linear system
fed with
Gaussian independent white noise
Real World
Model
NLT
NLT
{ stack { {X rSub {k+1} = Sum cSub { h=0 } cSup { h=n - 1 } {A rSub { h } X rSub { k - h } } + Sum cSub { h=0 } cSup { h=m - 1 } {B rSub { h } R rSub { k - h } } } } }
NLT
NLT
Accept state space reductions.
Accept forecast information.
NLT
NLT

---
Bellman's curse of dimensionality.
CEGH
The Stochastic Dual Dynamic Programming (SDDP) used in Brasil’s tools is a elegant and power weapon to fight again the Bellman’s curse.

---
OddFace
(2010)
Optimization of the investment plan.

---
PRONOS
https://pronos.adme.com.uy
Weather’s forecast
Real time system info.
Model of the plants.
Forecast of Wind and Solar generation.

---
VATES
Forecast of the next 336 hours of the power system operation.
https://vates.adme.com.uy

---
In the future, when the filtering capacity of the hydroelectric subsystem is exhausted, regional integration, Responsive Demands and Battery-storage will be the key to filter the variations of energy availability within the week.

---
What we are working on now for the future.

---
Regulation for Responsive Demand
We have resolved the first step (compute and publish the forecast of the Spot Price).
Now we need a good regulation to enable Responsive Demands to appear.
There are details to consider. For example, if all the automatic controllers of the Responsive Demands are informed at the same time and all take the same action (moving the consumption to the time of lower marginal cost) the system is unstable.
Firm Capacity. Is new regulation needed?
1. It is necessary to recognize the contribution to the Firm Capacity of the resources in their synergy with the other elements of the systems.
3. A silly example: A village in the desert that must be powered by solar panels and a battery bank. Neither of the two elements alone has a Firm Capacity, but the set does.

---
Thank you very much for your attention!
Be quick enough not to miss the train and slow enough not to get on the wrong one.