E. Cornalino, P. Soubes, F. Palacios, M.C. Alvarez ( ADME )
E. Coppes, G. Casaravilla ( UTE; IIE)
R. Chaer <rchaer@adme.com.uy>( ADME; IIE )
HANDLING THE INTERMITTENCE OF WIND AND SOLAR ENERGY RESOURCES, FROM PLANNING TO OPERATION. URUGUAY’S SUCCESS.

---
This paper presents the changes in the electricity generation matrix of Uruguay planned in 2010-2011 and executed during 2012-2016.
As a result, 220 MW of photovoltaic solar and 1500 MW of wind power capacity was installed.
The demand varies from 700 MW to 1800 MW depending on the hour of the day and the season.
The solar+wind installed capacity es greater than the peak of the Deman in many days of the year.

---
Simulations in SimSEE
- In 2010, good variability and correlation models were developed among the resources to perform simulations to ensure that the system could be controlled.
- A key feature of the models is the possibility of incorporating wind and solar generation forecasts.
- Those models are used today for the optimal operating of the system, to publish a forecast of spot prices and to make export offers to Brazil and Argentina.
- Those models are also used to estimate the energy curtailments imposed from the System Operator when there are no room for all the renewable generation.

---
Hydroelectric
1541 MW
Palmar
333MW
22 días
Future expansion: There are no big projects to be done. Possibility of distributed generation in mini and micro about 200 MW.
Distributed pumping stations 300 – 1000 MW
Bonete
155MW
140 días
Baygorria
108MW
3 días
Salto Grande
(50% UY)
945MW
8 días

---
Uruguay 2010,
fuel fired capacity.
about 900 MW
Fuel oil and gas-oil both imported.
Open cycles turbines or similar performance.

---
The neighborhood
Brasil installed capacity
130 GW
Argentina
installed
capacity 28 GW.
Uruguay
installed
capacity 4.8 GW
Our neighbors are great. And we must take care that they do not step on us.

---
The 2011’s risk picture
Energy volume risk multiplied by the petroleum price risk

---
Petroleum forecast
mmm …. more variability than renewables !!!
Nobody knows where the world goes

---
Annual generation cost.
(2011 dollars before taxes.)
Risk reduction of 1000 MUSD
5% Risk ceil
expected value
5% Risk floor

---
Actual installed capacity.

---
Forecast of the spot price in 2011 against the actual chronicle.

---
The new energy matrix’s risk picture

---
A bit about the intermittency of renewable energies.

---
Simulation 2011

---
volatility analysis.
accumulated deviation from the expected value
Wind
Solar
Hydro

---
Wind Capacity vs. Demand
ISGTLA 2015 MONTEVIDEO URUGUAY

---
The design of 2010 was then of a manageable turbulence
Design 2010

---
In 2016 it was verified that everything was smoother
Reality 2016

---
How to improve?

---
Control and forecasts

---
Metodología (Modelo Teórico)
¿Por qué el MT?
Good models of power plants.
Developed by ADME and FING within the framework of a permanent cooperation and research agreement.

---
P R O N O S
Project of incorporation of forecasts of wind and solar generation to the operation of the electrical system.
http://pronos.adme.com.uy

---
Optimize, optimize and optimize
- we must squeeze the oranges to the maximum
- pursuing that goal, a better forecast allows to anticipate the best use of each resource.

---
Responsive Demands are the key
to filter intra week energy availability variations.

---
The optimal expansion generates an energy surplus.
The regional integration is the key to monetize these surplus.

---
VATES
Forecast of the next 72 hours of the power system operation.
- 1) Price signal for National Responsive Demands.
- 2) Determination of energy packets available for export a week ahead.
http://vates.adme.com.uy

---
VATES
VATES is running permanently integrating the status information of the system together with the forecasts of wind generation, solar, temperature and demand and issuing a price signal for the following 72 hours.
Responsive
Demand
cloud
Model
Responsive
Ddemand
cloud
real world
Modeling
feedback
Forecasts.
Wind,
 Solar
Demand
System status
converge?
VATES
SimSEE
RTT
RTTx
yes
no
next iteration
yes

---
A week of actual energy dispatch with exportation towards Brasil

---
Thank you very much for your attention!
Be quick enough not to miss the train and slow enough not to get on the wrong one.